Preparations

- Determine the effective value, the mean value, and the rectified value of a sine wave, a square wave and a triangle wave with a peak-to peak-value of UPP= 6.0 V and no DC offset and put these values into a table.

Sine wave:

The mean value:

For a periodic waveform, the area above the horizontal axis is positive while the area below the horizontal axis is negative. The result is that the average or mean value of a symmetrical alternating quantity is zero

The effective value:

The rectified value:

The negative part of the cycle becomes zero

Square Wave:

The mean value:

The result is that the average or mean value of a symmetrical alternating quantity

is zero.

The effective value:

The rectified value:

Triangle Wave:

The effective value:

The rectified value:

Table 1: Pre-calculations of the mean, RMS and rectified values of different types of waves

| Sine wave | Effective value |  | 2.121 V |
| --- | --- | --- | --- |
|  | Mean value | 0 | 0 |
|  | Rectified value |  | 0.955 V |
| Square wave | Effective value | Vp | 3 |
|  | Mean value | 0 | 0 |
|  | Rectified value | Vp | 3 |
| Triangle wave | Effective value |  | 1.731 V |
|  | Mean value | 0 | 0 |
|  | Rectified value |  | 1.5 |

- Calculate the voltage ratio F(f) = Uc/U0 of a low–pass filter with R = 2.2k and a capacitance C = 33nF in the frequency-range of 100 Hz to 3 kHz and make a Bodeplot of F(f). For Bode plots read the explanation in the current script. Determine the cutoff frequency fb.

Table 2: Pre-calculations of gain and phase response of a low-pass filter

| R | 2200,00 | Ohm |  |
| --- | --- | --- | --- |
| C | 33E-09 | F |  |
| f (Hz) | ¦F(w)¦ | Gain (dB) | Phase(◦) |
| 100,00 | 0.999 | -0.009 | 2.60 |
| 200,00 | 0.996 | -0.036 | 5.21 |
| 500,00 | 0.975 | -0.220 | 12.85 |
| 1000,00 | 0.910 | -0.821 | 24.52 |
| 2192,00 | 0.707 | -3.012 | 45.01 |
| 2200,00 | 0.706 | -3.026 | 45.10 |
| 3000,00 | 0,590 | -4,583 | 53,84 |
| fc Hz | 2192,00 |  |  |

Figure 1: |F(w)| and frequency

Figure 2: Gain (dB) and frequency

Figure 3: Phase and frequency

Experiments

Experiment 1: Time measurement and adjustment of frequencies with a scope

Used devices:

Digital voltmeter: MetraHit 18S Nr1850

Oscilloscope Inv.Nr 1990

Signal generator: ROHDE & SCHWARZ HM8150

Table 3: Practical values taken in lab

| DC-offset | 0 |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| U peak-to-peak | 6 |  |  |  |  |  |
| Upeak | 3 |  |  |  |  |  |
| Measured | Sine Wave |  | Square Wave |  | Triangle Wave |  |
| Device | Oscilloscope | Voltmeter | Oscilloscope | Voltmeter | Oscilloscope | Voltmeter |
| Effective value,V | 2.07 | 2.116 | 2.99 | 2.986 | 1.69 | 1.727 |
| Mean value, V | 0.0188 | -0.0095 | 0.0154 | -0.0143 | 0.0279 | -0.0057 |
| The voltage source is equal to 2.118 V |  |  |  |  |  |  |

Measured Values

Screenshot for the Sine Wave:

With a sinusoidal signal with a peak to peak voltage Upp = 6V

Figure 4 Sinusoidal wave with Upp = 6V

Experiment 2: Non-sinusoidal signals

Figure 5: Sine Wave, Upp = 6V

Figure 6: Square Wave, Upp = 6V

Figure 7: Triangle Wave, Upp = 6V

Task B: Measure the RMS and Mean values of all signals with the digital voltmeter and the function “Measure” of the scope and compare the results of the scope, the voltmeter and the pre-calculation.

Table 4: RMS Voltage Values

| Wave | Voltmeter, V | Oscilloscope, V | Pre-calculated, V |
| --- | --- | --- | --- |
| Sine | 2.116 | 2.07 | 2.12 |
| Triangle | 1.727 | 1.69 | 1.73 |
| Square | 2.986 | 2.99 | 3.00 |

Table 5: Mean Voltage Values

| Wave | Voltmeter, V | Oscilloscope, V | Pre-calculated, V |
| --- | --- | --- | --- |
| Sine | -0.0095 | 0.0188 | 0 |
| Triangle | -0.0057 | 0.0279 | 0 |
| Square | -0.0143 | 0.0154 | 0 |

Task C:  Set the function generator to square wave, 6 Vpp with a DC offset of 3V so that the signal changes between 0V and 6V. Measure the True RMS, RMS and mean value and compare them to the theoretical value.

Figure 8: RMS Value

Figure 9: True RMS Value

Table 6: Mean Voltage Values

|  | Voltmeter | Oscilloscope | Pre-calculated |
| --- | --- | --- | --- |
| Mean,V | 2.999 | 3.01 | 3.0 |
| RMS,V | 2.997 | 2.99 | 3.0 |
| TRMS,V | 4.244 | 4.23 | 4.243 |

Calculations:

Umean = 3 V (DC)

Urms = 3 V (pre-calculation)

Utrms =

Experiment 3: 2-channel-mode and RC low-pass filter

We used three 100nF capacitors in series (C= 100nF3 ≈33nF) instead of just simple 33nF capacitor because we didn`t find in our tool-box the appropriate capacitor.

Figure 10: channel 1, Input signal (U)

Figure 11: channel 2, Output signal (Uc)

Task (b):  Set the frequency to f0 and measure the time delay between both signals using the menus

“cursor” and the menu “Measure”. Calculate the phase angle for the given frequency and compare the results with the theoretical value of the pre-calculated Bode plot.

Figure 12: “Cursor Menu”

Figure 13: “Measure Menu”

Pre-calculated value of phase shift:

45.1º

Table 7: Pre-calculations

| f (Hz) | ¦F(w)¦ | Gain (dB) | Phase(◦) |
| --- | --- | --- | --- |
| 2192 | 0.707 | -3.012 | 45.01 |
| 2200 | 0.706 | -3.026 | 45.1 |

Lab calculations:

△t = 56μs

f=2200

phase angle = f*△t*360◦ = 2200*(56*10^-6)*360◦ = 44.35◦

So the absolute error between the pre-calculated and measured values is ∆φ=45.1°-44.35°=0.75°,

This error is caused by the graphical approximation which was made on the pre-calculated Bode plot and also by the measurement errors, for instance, component tolerances in our circuit.

Task (c), part 1:  Determine the peak-to-peak voltage uc and the phase angle between u and uc for the following frequencies: f = f0/5, f0/2, 2f0, 5f0.

Table 8: RC Low-Pass Filter measurements

|  | Frequency(Hz) | Phase angle(◦) | Uc(V) |
| --- | --- | --- | --- |
| f/5 | 440 | -11.34 | 5.86 |
| f/2 | 1100 | -27.25 | 5.29 |
| 2*f | 4400 | -63.32 | 2.9 |
| 5*f | 11000 | -76.22 | 1.56 |

Task (c), part 2:  Make a Bode plot of uc(f) in ϕ(f) and dB. Determine the cutoff frequency graphically and compare with the pre-calculated theoretical value fc.

The cutoff frequency was determined graphically at Amplitude response graph (Fig.14) and Phase response graph (Fig.15) and after that compared to the pre-calculated theoretical value fc.

The Amplitude response in decibels and Phase response in degrees’ graphs according to frequencies are presented at the Fig.14 and Fig.15.

Figure 14: Amplitude response in dB of the low-pass filter with cutoff frequency fc = 2100 Hz

Figure 15: Phase response of the low-pass filter with cutoff frequency fc = 2200 Hz

So from these two graphs we can find the average and compare the graphically determined cutoff frequency with pre-calculated value.

fCgraphically= 2100Hz+2200Hz2=2150Hz

fCpre-calculated=2192 Hz

The absolute error between these values is ∆fC=2150Hz-2192Hz=42Hz is relatively small, but anyway our pre-calculated values were approximately and the measurements were not exactly precise because of the slightly different capacitor was used in our circuit.

Experiment 3.2: Impact of RC filter on triangle and square wave

Task:  Generate a triangle wave and a square wave with Upp = 6.0 V and f = 1.0 kHz. Make a screen shot of both the original signal u(t) and the filtered signal uc(t). Try to explain why the wave form of the signal output is different from the signal input.

Figure 15: Triangle wave

Figure 16: Square wave

The screenshots display an output signal which is no longer purely triangular or squared. Both curves show some sort of exponential behavior, which can be linked to the capacitor.

The charging and discharging of a capacitor is modeled by an exponential curve. These charges that are either accumulated or released cause the distortion of the signal.

Conclusions

In this lab we have learned about how to operate with oscilloscope and measure periodic signals (period, frequency, amplitude). Also we saw the difference between pre-calculations and lab calculations and measurements, some of which can be visible in tables and Bode plots. Finally, we tried generating non-sinusoidal signals (triangle and square wave).